## Slide 1: Region 3
Where is AWOP in 5 years?

## Slide 2
Connecticut

## Slide 3
Maryland

## Slide 4: Maryland AWOP
AWOP National Meeting
August 6-7, 2019

## Slide 5: General Update
Continued to incorporate optimization section in sanitary surveys at surface water treatment systems
Summer intern is working on data entry for annual turbidity graphs and status component
Chlorine residual mapping activity with water system having difficulty meeting DBP rule compliance
  Coordinating follow-up mapping activity for the summer

## Slide 6: MDE Engineering & Technical Assistance Division
Alex McNamee, Division Chief
Zoe Goodson, AWOP Team Lead
Chris Carski, CPE Lead
Stephanie Eatinger, AWOP Team Member
Dee Settar
Tony Sierra
Virgiline Ongkingco

## Slide 7: Goals for MD AWOP in Next 5 Years
Maintain AWOP program, continue to track SWTP filter performance.
Utilize status component ranking to identify water systems that are in need of technical assistance
Utilize DBP compliance sample data to identify water systems that would benefit from DBP optimization activities
Continue providing technical assistance to water systems not meeting compliance with DBP rule through optimization activities (primarily day long activities) and begin reaching out to water systems that are nearing non-compliance
Reintroduce CPE's & get buy in from large CWS's
Implement optimization awards
Notes: Over the next 5 years I believe we can accomplish the following with our AWOP program, if we are to receive adequate support from our administrators and we are able to increase staffing levels:

## Slide 8
Michigan

## Slide 9: MICHIGAN AWOP
Mike Bolf
Drinking Water – Engineering Unit
906-630-4107| bolfm@michigan.gov

## Slide 10: MI AWOP Timeline
Oct-17: Secured management support
Dec-17: Memo to all SW plants announcing MI’s participation
Aug-18: Data integrity workshop
Feb-19: New state training – Status Component
Aug-19: Demonstration CPE

## Slide 11: Goals for MI AWOP in next 5 years:
Maintain necessary resources!
Disseminate AWOP concepts and seek PWS buy-in
Populate OAS software for SW plants
Establish priority ranking
Develop and introduce awards program

## Slide 12: Desired Outcomes
Improve public health protection
Increase optimization awareness
Enhance customer confidence in EGLE
  Water customers
  PWSs
  Third Parties
Empower WTPs to troubleshoot and problem solve
Build/maintain regional and national networks
Promote participation in Region 5 (states & EPA)

## Slide 13: Consumer Confidence?
Lead
PFAS
HABs
Legionella
Aging Infrastructure
State and local resources

## Slide 14
Michigan Department of
Environment, Great Lakes, and Energy
800-662-9278
Michigan.gov/EGLE
Follow us at: Michigan.gov/EGLEConnect

## Slide 15
Pennsylvania

## Slide 16: Pennsylvania’s AWOP in 5 Years
National AWOP Meeting
August 6-7, 2019
Tom Wolf, Governor
Patrick McDonnell, Secretary

## Slide 17
Kevin Anderson- Technical Assistance Section
Justin Blashaw- Distribution
Kurt Smith- Filter Plants
Stephanie Stoner- Distribution and Filter Plants
Pennsylvania Optimization Staff
Notes: Read Slide

## Slide 18
Minimum Distribution Residual
  0.2 mg/L
  Report individual sample sites and residual data
Calculate and Report CTs Daily
Nitrification Control Plans
Speciated DBP Reporting
Disinfection Requirements Rule
Notes: Read Slide

## Slide 19
Automated Alarm and Shutdown
Continuous IFE and CFE Turbidity Monitoring
Filter Bed Evaluation Program
F-t-W Requirements
Membrane Treatment Technique
General Update-Filtration
Notes: Read Slide

## Slide 20
Availability of Performance Data
  Better awareness
  Process control
  Early detection
  Prioritize technical assistance and training
More Stringent Requirements
  New incentive to improve water quality
  Increased demand for AWOP assistance
AWOP in 5 Years
Notes: Read Slide

## Slide 21: National AWOP Meeting
Kevin Anderson
keanderson@pa.gov
717-783-9764

## Slide 22
Virginia

## Slide 23: Virginia Optimization Program Beginnings, Current, Path Forward
August 6, 2019
Dixon Tucker, PE, VOPC Chair

## Slide 24
Chart: Virginia Optimization Awards
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Gold | 3 | 2 | 10 | 12 | 15 | 13 | 17 | 22 | 28 | 37 | 31 | 34 | 37 | 35
Silver | 16 | 31 | 24 | 27 | 26 | 25 | 28 | 27 | 25 | 20 | 32 | 30 | 32 | 27
Bronze | 32 | 37 | 40 | 38 | 36 | 35 | 34 | 35 | 32 | 25 | 19 | 24 | 21 | 22
Total | 51 | 70 | 74 | 77 | 77 | 73 | 79 | 84 | 85 | 82 | 82 | 88 | 90 | 84
No. Plants | 138 | 136 | 134 | 132 | 131 | 131 | 130 | 130 | 131 | 132 | 129 | 131 | 131 | 130
Notes: Organized in 2003. Had our first awards in 2005. Good growth trend so far, but still need to reach a few more waterworks.

## Slide 25: Office of Drinking Water
?
Notes: We have about 120 staff and 6 field offices. We are in the process of standing up the 6th field office in the Richmond area.

## Slide 26: Currently
VOP Committee composed of representatives from six field offices and the Central Office
  David Dawson, PE– Abingdon Field Office*
  Thomas Thompson, PE – Lexington Field Office
  Dixon Tucker, PE – Southeast Virginia Field Office
  Nyibe Smith – East Central Support Office*
  Bernard Proctor – Danville Field Office*
  James Keating– Culpeper Field Office*
  Susan Miner, CapDev – Central Office*
  Aaron Moses, PE, Central Office
  Robert Edelman, PE, Central Office
Notes: *Half the membership has been on the committee less than 2 years

## Slide 27: THE PROGRAM
Core Team Structure and Capacity –
One VOPC chair (turned over four times in 16 years)
One VOPC team member from each of six offices
Three CO representatives
Team turnover by attrition – five offices have changed team members
Team is responsible for implementation at each of six offices.
Notes: The core team has grown to include two more representatives from the Central Office. There is one member still on the team from 2003 (Dixon Tucker).
First Chair – Charles Rest, Second Chair – Robert Edelman, Third Chair – Aaron Moses, Four Chair – Dixon Tucker

## Slide 28: Looking Forward
Targeted technical assistance via Sanitary Surveys and other meetings with WTPs.
Annual VOP data review letter to WTPs, OR
Notify WTPs of rank in sanitary surveys.
Targeted technical assistance or intervention at low-performing WTPs.

## Slide 29: Looking Forward
DBP PBT – Disinfection By-Products, Performance Based Training – looking to have more of these.
Distribution System Optimization will be doing these to address DBP issues.
Continue quarterly AWOP meetings with EPA Region 3
Continue sharing lessons learned

## Slide 30
West Virginia

## Slide 31
EPA Region 3
Philadelphia

## Slide 32: EPA Region 3 AWOP Program
Administered by the Drinking Water Section
Two Objectives: facilitation and direct implementation
Member States: CT, MD, MI, PA, VA, WV
    Consideration states: NJ, MA
Successful example of cooperative federalism
EPA working collaboratively with states and local governments to benefit the public
Notes: Cooperative Federalism: EPA working collaboratively with states and local governments to benefit the public

## Slide 33: 5 Year Forecast: Maintaining the Region 3 Program
AWOP program responsibilities
Regional Facilitation
Direct Implementation (DC)
Regional Facilitation Goals
Champion continued participation by veteran states
Encourage and support new members, and continue engagement with interested states
Increase responsibility for meeting preparation and execution to reduce burden on EPA-TSC

## Slide 34: EPA Region 3 AWOP Program DC Direct Implementation
6 public water systems
  1 wholesaler (2 SW treatment plants)
  5 consecutives
    4 military bases
      No treatment, no storage
    1 hotel
      Chloramine treatment (hot and cold)

## Slide 35
AWOP program responsibilities
Regional Facilitation
Direct Implementation (DC)
DC Direct Implementation Goals
Implement optimization tools in DC program
Investigate and develop DC status component with management approval
Emphasize data integrity and distribution system optimization
Continue training initiative for consecutive systems
  Sampling training May 2019 (included hydrant flushing live demo)
5 Year Forecast: Maintaining the Region 3 Program

## Slide 36: EPA Region 3 AWOP Program
Alysa Zirilli
EPA Region 3
Alysa.Zirilli@epa.gov
(215) 814-5733